

BuildINT CHECKLIST FOR BANK BRANCH iEMS IoT SOLUTION

Branch Name - Fullerton Jaipur Branch Code - Branch Address - First Floor, North & South Wing, Saurabh Tower, Office No:-5,6,7,8,9,10,11 & 12, Plot No:-C-2, Gautam Marg, Vaishali Nagar, Jaipur - 302021 Branch Manager Name

Contact Number -

Email id - Site Electrician Name - Kuldeep Kapuria Site Electrician Number - 958475890 Security Guard Name - Mahendar Poswal

Security Guard Number- +917378209872

|  |  |  |  |
| --- | --- | --- | --- |
| **Sr. No.** | **Items** | **Description** | **Remark** |
| 1 | Electrical System | *Electrical SLD* | No of DB’s - 2 |
| *Total Numbers of EB Meter* | No of electrical meters - NA |
| *Total Number of Panels* | 1 |
| *Others* | - |
| 2 | DG | *Make* | - |
| *Model* | - |
| 3 |  | Zion |  |
| Smart Meter |  |
| Wifi/Hotspot |  |
| Sim Number |  |

HVAC Details

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Area** | **AC Type** | **Make & Model** | **Qty** | **Capacity** | **Communication** |
| **Micro room** | **Duct** | **Hitachi** | 4 | - | Switch |
| **Meeting**  **Room** | **Duct** | **Hitachi** | 1 | - | Switch |
| **OPS Credit**  **Department** | **Duct** | **Hitachi** | 5 | - | Switch |
| **Lobby** | **Duct** | **Hitachi** | 3 | - | Switch |
| **Cash**  **Counter** | **Duct** | **Hitachi** | 1 | - | Switch |
|  | | **Total items: 14** | |  | |

Signage

|  |  |
| --- | --- |
| **Sr. No.** | **Light (Watts)** |
| 1 | Manual (not working) |
|  |  |

UPS SYSTEM

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr. No.** | **Make** | **Model** | **Capacity** | **No. Battery** | **Battery Capacity** |
| **1** | ONFINITI | ONFINITI 5kVA FMI C | 5kVA | 20 | 34AH |

# Branch Architecture/ installation SLD

|  |  |  |
| --- | --- | --- |
| M1-CH1 |  |  |
| M1-CH2 |  |  |
| M1-CH3 |  |  |
| M1-CH4 |  |  |
| M2-CH1 |  |  |
| M2-CH2 |  |  |
| M2-CH3 |  |  |
| M2-CH4 |  |  |

**Engineer Remarks:**

# Site Person Signature

# Working hours of office: 10:00am to 8:00pm